## Schedule of Works
TEST - fictitious. Schedule of Works rev A - 14 Larch Walk, rear extension - Harbour Lane Architects Ltd - issued 22 October 2026
Item | Section | Description | Unit | Qty | Rate (GBP) | Amount (GBP)
1 | Preliminaries | Site set-up, welfare, scaffold, protection, skip, insurances, construction phase plan | item | 1
2.1 | Demolition | Remove existing rear wall incl. window W01 between party wall and new pier | m2 | 11.3
2.2 | Demolition | Break out existing patio and dispose | m2 | 28
3.1 | Substructure | Excavate strip foundations 1.0 m deep, cart away | m3 | 9.4
3.2 | Substructure | Concrete strip foundations 600 wide x 225 thick | m | 14.4
3.3 | Substructure | Ground bearing slab 150 on 100 PIR and DPM | m2 | 21.5
4.1 | Structure | Steel beam S1 UB 203x133x25 with padstones, incl. temporary works | item | 1
5.1 | External walls | 300 cavity wall, facing brick to match, full-fill insulation, block inner leaf | m2 | 39
5.2 | External walls | Brick parapet with reconstituted stone coping | m | 14.4
6.1 | Roof | Flat roof warm deck incl. joists, OSB, 150 PIR, single-ply membrane | m2 | 25.6
6.2 | Roof | Rooflights RL1, RL2 1000 x 1500, supply and fix incl. upstands | nr | 2
7.1 | Windows and doors | Aluminium bifold doors D10 4000 x 2100 | nr | 1
7.2 | Windows and doors | Aluminium window W10 1500 x 1200 | nr | 1
8.1 | Finishes | Plaster and skim to walls | m2 | 52
8.2 | Finishes | Plaster and skim to ceiling | m2 | 21.5
8.3 | Finishes | Engineered oak floor, PC sum GBP 45/m2 supply, fix | m2 | 21.5
9.1 | Services | Underfloor heating to the extension, connect to existing boiler | m2 | 21.5
9.2 | Services | Electrics: 12 sockets, 8 downlights, 2 pendants, testing and certificate | item | 1
10.1 | Drainage | Provisional sum: drain diversion / build-over works | PS | 3000
10.2 | Kitchen | Provisional sum: fitting client-supplied kitchen | PS | 2500
11 | Contingency | Contingency | item | 5000
Tender total excluding VAT